RESEARCH PROTOCOL

Facilitating AcceLerated Clinical evaluation Of Novel diagnostic tests for COVID-19 (FALCON-C19)

# CONTENTS

CONTENTS	2

SIGNATURE PAGE	4

1. RESEARCH TEAM & KEY CONTACTS	5

2. SUMMARY	7

3. BACKGROUND	9

4. STUDY OBJECTIVES	9

5. STUDY DESIGN & PROTOCOL	10

6. STUDY PARTICIPANTS	12

7. OUTCOME MEASURES	14

8. DATA COLLECTION, SOURCE DATA AND CONFIDENTIALITY	15

9. STATISTICAL CONSIDERATIONS	16

10. DATA MONITORING AND QUALITY ASSURANCE	17

11. SAFETY CONSIDERATIONS AND ADVERSE EVENTS	17

12. PEER REVIEW	18

13. PPI REVIEW	18

14. ETHICAL and REGULATORY CONSIDERATIONS	18

15. STATEMENT OF INDEMNITY	18

16. FUNDING and RESOURCES	18

17. PUBLICATION POLICY	18

# SIGNATURE PAGE

The undersigned confirm that the following protocol has been agreed and accepted and that the Chief Investigator agrees to conduct the study in compliance with the approved protocol and will adhere to the principles outlined in the Declaration of Helsinki, the Sponsor’s SOPs, and other regulatory requirement.

I agree to ensure that the confidential information contained in this document will not be used for any other purpose other than the evaluation or conduct of the investigation without the prior written consent of the Sponsor

I also confirm that I will make the findings of the study publicly available through publication or other dissemination tools without any unnecessary delay and that an honest accurate and transparent account of the study will be given; and that any discrepancies from the study as planned in this protocol will be explained.

| For and on behalf of the Study Sponsor: |  |  |
| --- | --- | --- |
| Signature: ...................................................................................................... |  | Date: ....../....../...... |
| Name (please print): ...................................................................................................... |  |  |
| Position: ...................................................................................................... |  |  |
| Chief Investigator: |  |  |
| Signature: ...................................................................................................... |  | Date: ....../....../...... |
| Name: (please print): ...................................................................................................... |  |  |

### 1. RESEARCH TEAM & KEY CONTACTS

| IRAS Project ID: | 284229 |
| --- | --- |
| CPMS Reference: | 45923 |
| ClinicalTrials.gov ID: | NCT04408170 |
| Date and version number: | 9th September 2020; 1.3 |
| Chief Investigator: | Professor Richard Body Division of Cardiovascular Sciences, University of Manchester Emergency Medicine & Intensive Care Research Group (EMERGING), Manchester University NHS Foundation Trust |
| Investigators: | Dr Charles Reynard (NIHR Doctoral Research Fellow) Dr Eloïse Cook (Study Coordinator, EMERGING) Prof Paul Klapper (Virology, University of Manchester) Prof Pam Vallely (Virology, University of Manchester) Dr Nick Machin (Virology, Manchester University NHS Foundation Trust) Prof Paul Dark (University of Manchester and DiTA) Dr Sara Graziadio (Newcastle NIHR Medtech & In Vitro Diagnostic Cooperative) Dr Joy Allen (Newcastle NIHR Medtech & In Vitro Diagnostic Cooperative) Dr D Ashley Price (Infectious Disease, Newcastle upon Tyne Hospitals NHS Foundation Trust) Prof Gail Hayward (Deputy Director NIHR Community MIC, Oxford) Prof Daniel Lasserson (University of Warwick and NIHR Community Healthcare MIC, Oxford University Hositals NHS Foundation Trust) Prof Rafael Perera (Director of Medical Statistics, Nuffield Department of Primary Care Health Sciences, University of Oxford) Dr Brian D Nicholson (Community Healthcare MIC, Oxford) Prof Pete Buckle (London NIHR MIC) Dr Mike Messenger (Leeds NIHR MIC) Prof Mark Wilcox (Leeds NIHR MIC) Dr Taj Hassan (Leeds Teaching Hospitals NHS Trust) Dr Andrew Lewington (Leeds Teaching Hospitals NHS Trust) |
| Sponsor: | Manchester University NHS Foundation Trust Dr Lynne Webster Head of the Research Office Research Office 1st Floor The Nowgen Centre 29 Grafton Street Manchester M13 9WU Email: lynne.webster@mft.nhs.uk Tel: 0161 190 1441 |
| Funder: | NIHR Asthma UK British Lung Foundation |

### 2. SUMMARY

| Long Study Title | Facilitating AcceLerated Clinical evaluation Of Novel diagnostics for COVID-19 |  |
| --- | --- | --- |
| Short Study Title | The FALCON C-19 study |  |
| Nature of Study | Multi-centre Observational Prospective Parallel Diagnostic Accuracy Study |  |
| Participants | Adults with suspected current or past COVID-19 |  |
| Setting | Secondary and Tertiary Care: Hospitals in the United Kingdom |  |
| Intended number of participants | Dependent on diagnostic test under evaluation, but the range of expected participants is 400 to 1,000 |  |
| Planned Study Period | 01-JUN-2020 to 01-JUN-2021 |  |
|  | Objectives | Outcome Measures |
| Primary | - Evaluate the diagnostic accuracy of multiple current and emerging point-of-care tests for active COVID-19 infection in the secondary/tertiary care setting. | - “Standard” diagnostic accuracy of point-of-care tests for active COVID-19 infection with reference to the Public Health England reference standard. |
|  | - Evaluate the diagnostic accuracy of multiple current and emerging point-of-care tests for past COVID-19 infection in the secondary/tertiary care setting. | - “Standard” diagnostic accuracy of point-of-care tests for past COVID-19 infection with reference to the Public Health England reference standard. |
| Secondary | - Evaluate the diagnostic accuracy of multiple current and emerging point-of-care tests for active COVID-19 infection in the secondary/tertiary care setting against an enhanced reference standard. | - “Enhanced” diagnostic accuracy of point-of-care tests for active COVID-19 infection assessed against a composite reference standard using multiple tests, linked electronic health records data, and patient follow-up optimised for different clinical applications, allowing for imperfections in the reference test: - Clinical scenario requires ruling out infection (e.g. healthcare workers return to work, decisions about de-isolation) - Clinical scenario requires ruling in infection (e.g. decisions about isolation) |
|  | - Compare the diagnostic accuracy of multiple current and emerging point-of-care tests for past COVID-19 infection in the secondary/tertiary care setting against an enhanced reference standard. 3. Compare viral load and diagnostic accuracy between saliva and combined nose/throat swab samples | - “Enhanced” diagnostic accuracy of point-of-care tests for past COVID-19 infection assessed against a composite reference standard using multiple tests, linked electronic health records data, and patient follow-up, optimised for different clinical applications, allowing for imperfections in the PHE reference tests: - Clinical scenario requires ruling out infection (e.g. healthcare workers return to work, e.g. de-isolation) - Clinical scenario requires ruling in infection (e.g. decisions about isolation) 3. Method comparison between saliva samples and the reference standard method (combined nose/throat swab) |

### 3. BACKGROUND

In response to the COVID-19 pandemic, multiple in vitro diagnostics tests (IVDs) have been rapidly developed to detect SARS-CoV-2 infection or immunity. To meet the urgent demand for increased testing capacity, many IVDs have received emergency use authorization. However, clinical evaluations to date have mainly been single-centre, employing differing reference standards with variable protocols. There remains an urgent need for a multi-site, rapid, and methodologically robust approach to in-context clinical validation.

The COVID-19 National DiagnOstic Research and Evaluation Platform (CONDOR) will contribute to the coordinated national effort to improve COVID-19 diagnostics by providing a collaborative national platform for clinical evaluation. The Facilitating AcceLerated Clinical evaluation of Novel diagnostics for COVID-19 (FALCON-C19) study feeds into the CONDOR programme by evaluating novel diagnostic tests for COVID-19 in hospital settings. Meanwhile, a separate study, called the Expanding RAPid community Test evaluation capacity fOR COVID-19 within the RCGP Research and Surveillance Centre (RCGP-RSC) network (RAPTOR-C19) study will separately evaluate novel diagnostic tests for COVID-19 in a community setting.

FALCON will provide in-context clinical validation for multiple IVDs in a hospital setting, specifically applied to high-priority use cases. This collaborative platform will also place the UK in a unique position to rapidly evaluate and adopt novel diagnostics into clinical practice when faced with future pandemics.

### 4. STUDY OBJECTIVES

4.1 Co-primary objectives

In this platform study, which is designed to add new evaluations of IVDs for COVID-19 as the study progresses under this umbrella protocol, we will evaluate two co-primary objectives, as follows:

- To determine the diagnostic accuracy of novel commercially supplied IVDs for active infection with SARS-CoV-2

- To determine the accuracy of novel commercially supplied IVDs for monitoring the development of antibodies against SARS-CoV-2.

We will evaluate this in secondary and tertiary care settings, commencing at the first point of contact with secondary healthcare organisations, and also in settings where patients have been identified as positive for SARS-CoV-2 PCR through national laboratory infrastructure In this platform study, we aim to evaluate multiple commercially supplied assays including assays that may not be available at the beginning of the study.

4.2Secondary Question/Objectives

- To evaluate the feasibility and acceptability to end users of novel diagnostic tests for the detection of infection, response and immunity to SARS-CoV-2.

- To compare the SARS-CoV-2 viral loads between saliva and combined nose/throat swabs

### 5. STUDY DESIGN & PROTOCOL

5.1 Design

This is a prospective, multi-centre diagnostic test accuracy study including patients suspected to have past or present infection with SARS-CoV-2. The study is observational in nature, meaning that the healthcare provided to participants will not be altered as a result of their participation in the study. All patients will have appropriate investigations that are standard of care to determine SARS-CoV-2 status which will be used to determine ongoing care. The work will be divided into two work streams. The primary objective and secondary objective (1) will be evaluated in work stream A, whereas secondary objective (2) will be evaluated in work stream B.

This project will be conducted in accordance with the study protocol and the ethical principles outlined by Good Clinical Practice (GCP) and the Declaration of Helsinki in its most current version.

5.2 Index tests under evaluation

In this adaptive and pragmatic study we endeavour to evaluate a number of new tests, some of which will become available after approval. Tests to be evaluated will have been identified and prioritised by the National Test Advisory Group (NTAG), the Viral Detection Test Advisory Group (VDTAG), the Serology Task Force (STF), each of which has been set up by the Department of Health and Social Care, or (at a later stage in the pandemic response) by the CONDOR steering committee. The CONDOR steering committee will include two lay representatives, key stakeholders from primary and secondary healthcare settings and test evaluation methodologists.

In order to be accepted for inclusion in this platform study, novel tests must have clear potential to benefit patients and healthcare organisations in the NHS during the current SARS-CoV-2 pandemic. Prioritisation may also be informed by the findings of a forthcoming national survey of clinicians, who will be invited to define their priorities to improve diagnostic testing for patients with suspected or confirmed infection with SARS-CoV-2.

For each IVD to be evaluated within the FALCON study, there will also be an associated use case. The use case describes how the IVD will be used in clinical practice, if the evaluation is successful. An example of a use cases relevance to this study would include: early identification of COVID-19 by testing at the time of arrival in patients presenting to the Emergency Department or acute medical unit with symptoms that may be caused by COVID-19 who may need hospital admission, in order to triage patients, along with clinical assessment, to an appropriate area within the hospital (COVID-19 or low risk COVID-19 area). For serology testing, a typical use case may include identification of the development of antibodies in order to determine immunity to COVID-19. For each use case, a different evaluation is required. This study will collect all data and has the facility to collect all sample sets required to evaluate the various use cases anticipated. In some circumstances, not all of the samples described in the protocol will be required for a particular evaluation. In that instance, the steering committee will decide (prior to commencing the relevant evaluation) upon the minimum sample set required to evaluate the relevant IVD for the appropriate use case. Should additional samples be required for a particular evaluation, we will apply for a substantial amendment to the protocol.

5.3 Sampling

5.3.1 Work Stream A (in-hospital testing)

We will draw the following samples:

- Combined nasal/throat swab and/or saliva and approximately 15mL venous blood taken at the time of first contact (Baseline/Day 0)

- Combined nasal/throat swab and/or saliva will also be collected on Day 1, 3, 5, 9, 30 and 90 (no more than once daily)

- Approximately 2mL whole blood and/or finger stick blood samples drawn serially on days 1, 3, 5, 9, 30 and 90 .

Finger stick samples are only during the evaluation of point of care tests intending to use finger stick blood samples for analysis. Not all IVD evaluations will require a full sample set. We will draw the minimal sample set required for evaluation of each IVD, the frequency of which will be determined by the technology under test at the beginning of each evaluation.

All samples will be collected by staff who are fully trained to don and doff personal protective equipment, and who are wearing full personal protective equipment in accordance with contemporary guidance from Public Health England. Samples will be handled in full accordance with contemporary guidelines for sample handling.

5.3.1.1 On-site point-of-care device testing

Some point-of-care tests (POCTs) being evaluated will be undertaken in accordance with the manufacturer’s instructions locally at the participating site. Infection, prevention and control issues for each POCT will be discussed and implemented according to the test. Training materials will be developed ahead of the evaluation. In general, this will require the use of whole blood samples (venous and/or finger stick), throat/nose swabs or saliva samples. The remaining whole blood samples will be centrifuged at 1,500g for 15 minutes (unless otherwise stated by manufacturer of the point-of-care device being evaluated) and stored as required within 4 hours of collection by local laboratory personnel/research team members. Serum/plasma will be separated into aliquots of approximately 1ml and frozen at -80oC pending future analysis in batches. At the end of the study, the frozen samples will be transported on dry ice to the sponsor to be stored centrally.

5.3.1.2 Central point-of-care device testing

Where POCTs are not available for local on-site testing, samples will be sent to the manufacturer for testing in their central laboratory.  In preparation for transport of blood samples (where required) the whole blood will be centrifuged at 1,500g for 15 minutes (unless otherwise stated by manufacturer of the point-of-care device being evaluated) and stored as required within 4 hours of collection by local laboratory personnel/research team members. In general, this will be the transport of serum/plasma aliquots, throat/nose swab and/or saliva samples.  Where possible, the manufacturers will arrange for a courier that has the proper certification to handle this classification of samples to transport the research samples to their testing facility.  Any remaining samples will then be stored by the manufacturer for future testing in batches for COVID-19 diagnostics.

5.3.2 Work Stream B (Lighthouse Laboratories)

We will draw the following samples:

- Saliva (approximately 5ml) will be collected on days 1, 2, 3, 4 and 5

- Combined nasal/throat swabs will be collected on days 1 and 5

Not all IVD evaluations will require a full sample set. We will draw the minimal sample set required for evaluation of each IVD, the frequency of which will be determined by the technology under test at the beginning of each evaluation.

All samples will be collected by staff who are fully trained to don and doff personal protective equipment, and who are wearing full personal protective equipment in accordance with contemporary guidance from Public Health England. Samples will be handled in full accordance with contemporary guidelines for sample handling.

5.3.2.1 On-site point-of-care device testing

Some point-of-care tests (POCTs) being evaluated will be undertaken in accordance with the manufacturer’s instructions at the place of testing. Infection, prevention and control issues for each POCT will be discussed and implemented according to the test. Training materials will be developed ahead of the evaluation. In general, this will require the use of throat/nose swabs and saliva samples. The remaining samples will be sent for storage at national testing laboratories.

5.3.2.2 Central point-of-care device testing

Where POCTs are not available for use at the place of testing, samples will be sent for testing at the national testing laboratories.  In general, this will be the transport of throat/nose swab and/or saliva samples.  Where possible, the national testing laboratories will arrange for a courier that has the proper certification to handle this classification of samples to transport the research samples to their facility.  Any remaining samples will then be stored by the laboratories for future testing in batches for COVID-19 diagnostics.

### 6. STUDY PARTICIPANTS

Participants will be identified presenting or referred to secondary/tertiary healthcare organisations such as Emergency Departments, Urgent Care Centres, Ambulatory Care Units, Acute Medical Units, Critical Care services and Acute Hospital at Home services (work stream A), or identified as positive for SARS-CoV-2 PCR through national laboratory infrastructure overseeing community testing (work stream B).

6.1 Inclusion Criteria

6.1.1 Work Stream A (in-hospital)

In work stream A we will include two groups of patients – those patients that present/are referred to secondary/tertiary care with suspected SARS-CoV-2 infection (Group 1) and patients that have been admitted for non SARS-CoV-2 reasons but have been identified as positive for SARS-CoV-2 (Group 2).

Group 1:

We will include patients:

- That are 18 years or older

- That are presenting or referred to secondary/tertiary care with possible SARS-CoV-2 infection

- That will require testing in the opinion of the treating clinician

- That may have presented with acute symptoms of COVID-19 (e.g. fever, cough, dyspnoea, anosmia) or chest x-ray changes or they may be asymptomatic but require testing for other reasons

Group 2:

We will include patients:

- That are 18 years or older

- That have been admitted for another reason other than suspected SARS-CoV-2 infection, but when routinely swabbed  they have been identified as positive for SARS-CoV-2 PCR

6.1.2 Work Stream B (Lighthouse Laboratories)

In work stream B we will include patients that have been identified as positive for SARS-CoV-2 through the national laboratory infrastructure (Group 3).

Group 3:

We will include patients:

            - That are 18 years or older

            - They have been identified as positive for SARS-CoV-2 PCR through national laboratory infrastructure

To be eligible for the study, participants must meet the eligibility criteria for one of the three groups outlined above.

6.2 Exclusion Criteria

We will exclude the following patients:

- Impossible or unsafe to obtain the required research samples

- Prisoners

- Patients where sampling is not feasible

All individuals will be considered for inclusion in this study regardless of age, disability, gender reassignment, marriage and civil partnership, pregnancy and maternity, race, religion and belief, sex, and sexual orientation except where the study inclusion and exclusion criteria EXPLICITLY state otherwise.

6.3 Recruitment

6.3.1 Work Stream A (in-hospital; Groups 1 and 2)

Potential participants will be identified when they present or are referred for medical attention delivered by a secondary/tertiary healthcare organisation, whether that be in an Emergency Department, Medical Assessment Unit, COVID-19 cohorted area (e.g. inpatient ward or nightingale hospital) or in an ambulatory care environment such as an Urgent Care Centre, Ambulatory Care Unit or an acute/critical care medicine service.

Participants who are successfully screened for potential inclusion will be asked to provide consent. Given the known challenges of obtaining full written informed consent in this setting, patients may participate in the trial if any of the following is provided:

- Full written informed consent, in the event that this is feasible and participants have full mental capacity

- Witnessed verbal consent, for patients who have sufficient mental capacity to decide about participation but when written informed consent is unfeasible

- Assent provided by a professional legal representative or relative, where both the researcher and an independent professional representative or a patient relative agree that participation in the study is likely to be in accordance with the wishes of the patient, in the event that the patient does not have sufficient mental capacity to decide.

For patients enrolled based on the assent of an independent professional representative or relative, but who regain capacity at the time of follow-up, deferred written consent will be sought.

Where consultee consent cannot be provided in person, we have made provisions for this to be completed over the phone.

If a patient gives consent, then loses capacity and subsequently regains capacity during the study period, then enduring consent will be confirmed by obtaining further written informed consent at the next follow-up visit after they regain capacity.

6.3.2 Work Stream B (lighthouse laboratories; Group 3)

Potential participants will be identified by a national laboratory infrastructure (lighthouse laboratories). Patients presenting to community testing centres to undergo testing for COVID-19 are routinely asked to consent to be contacted about potential participation in current research studies. Patients who have provided consent to be contacted and who test positive for COVID-19 at the associated lighthouse laboratories (where their samples are tested) will be approached for participation in the study and for sharing of their name, contact details and initial swab-based qRT-PCR result data with the research team.  This will either be done by telephone or face-to-face at a national testing centre

A member of the research team will contact the participant at which time witnessed verbal consent will be obtained for participation in the study.   Continued consent will be confirmed at each patient contact.

6.4 Participant withdrawal

Participants can withdraw consent at any time without giving any reason, as participation in the research is voluntary, without their care or legal rights being affected. Samples will be securely disposed of; however, any data that is collected up to this point will be retained.

### 7. OUTCOME MEASURES

7.1 Active SARS-CoV-2 infection (co-primary outcome)

In accordance with current Public Health England guidance, the reference standard for active infection will be a nasal/throat swab tested for SARS-CoV-2 by reverse transcriptase polymerase chain reaction (RT-PCR). All patients will undergo reference standard testing on the day of inclusion. Patients who remain in hospital on day 3 have a higher pre-test probability of COVID-19 and repeat sampling is feasible. Therefore, the sample will be repeated on day 3 for patients who remain in hospital.

Samples for reference standard testing will be analysed in the Public Health England laboratory that is supporting the study using their existing quality compliant processes. This sample material will be retained by Public Health England and, line with its current processes, may be retained for up to 5 years.

7.2 Past SARS-CoV-2 infection (co-primary outcome)

The current Public Health England guidance suggests that laboratory-based serology testing is the reference standard for past infection. We recognise that the reference standard assay used to verify past infection may change as the study progresses. To accommodate this, we will switch reference standard as the study progresses in order that novel IVDs are always evaluated against the contemporary reference standard assay, as recommended by Public Health England. Blood sampling for serology will be undertaken at Baseline (Day 0) and on days 1, 3, 5, 9, 30 and 90 if required by the IVD under evaluation

7.3 Secondary outcomes

Recognising that the current reference standards for active and past COVID-19 have imperfect sensitivity (1), we will run sensitivity analyses to explore the possibility that novel tests outperform the current reference standard. To do this, we will evaluate the secondary outcomes of active and past infection using an ‘enhanced’, composite reference standard (2). The composite reference standard will be determined by expert consensus. The current working version of the composite reference standard combines the reference methods described above with radiological findings (chest radiography and/or computed tomography) but may be updated as the study progresses. We will use the contemporaneous version of the composite reference standard to determine diagnoses.

Other secondary outcome measures, to be determined at follow-up on days 30 and 90 include mortality, length of hospital stay, the development of multi-organ failure, critical care admission, mechanical ventilation, organ support, vasopressor use, COVID-19 related death and new (incident) infection with COVID-19 occurring within the follow-up period.

### 8. DATA COLLECTION, SOURCE DATA AND CONFIDENTIALITY

Basic data will be collected from participants about their demographics, presenting symptoms, past medical history, relevant vaccinations, physical examination findings, vital signs and the results of any routine tests that they undergo as part of their clinical care.  On follow-up visits for sampling, we will also collect details of the participant’s condition (e.g. mortality status, requirement for intensive care, organ support and oxygen treatment).

During initial telephone or face-to-face recruitment of Group 3 participants, basic personally identifiable information (name, address, telephone number / email addresses) will be collected to allow the research team to follow up with them. Additionally, the sample ID code of their initial national testing programme swab sample will be collected to allow individuals with a positive test result to be identified and to allow the initial qRT-PCR result data to be shared with the research team.

Data will be collected and stored on Castor Electronic Data Capture system, which is fully GCP compliant. The local research teams will be given access to this system to input the study data. Once data entry is complete the dataset will be downloaded onto NHS servers at Manchester University NHS Foundation Trust in Excel format.  Data will be pseudonymised prior to analysis and anonymised once the study has closed and analysis is complete.  The link for the pseudonymised dataset will be kept on NHS computers and will only be accessed by the central study team based at Manchester University NHS Foundation Trust.

Anonymised datasets will be sent to Newcastle University and University of Oxford for statistical analysis.  Anonymised datasets may also be sent to University of Leeds, University of Manchester and/or University of Oxford for health economic analysis.  These datasets may be stored on encrypted non-NHS computers with the required statistical software.  Anonymised clinical data will also be sent to the manufacturers of the point-of-care devices; however, they will not have access to the full database.  They will only be sent information for the participants where samples were collected for the evaluation of their device.

Un-redacted copies of participant consent forms will also be sent to the central study team as part of the remote monitoring plan, as onsite monitoring will not take place for this study.  This will allow for the sponsor to confirm that all participants have been recruited on to the study according to Good Clinical Practice.  Consent forms will be sent via encrypted emails, preferably via NHS.net accounts.

### 9. STATISTICAL CONSIDERATIONS

9.1 Statistical Analysis

The statistical aspects of the study are summarised here with details fully described in a statistical analysis plan (SAP). The SAP will be finalised before any analysis takes place.

9.1.1 Descriptive analysis

Characteristics of recruited participants will be summarised using tables and graphs. If applicable, these will be compared to estimates from the general population.  Number of total valid tests for both the index test and reference standards will also be reported (actual and percentages).

9.1.2 Summary statistics of diagnostic accuracy

The study will use measures of diagnostic accuracy and descriptive statistics to analyse the different testing methods. Each index test will be tested against standard of care laboratory investigations for SARS-CoV-2. These will include sensitivity, specificity, likelihood ratios and negative and positive predictive values (presented alongside prevalence). We will also report 95% confidence intervals for these values. The process will be repeated for sensitivity analyses against the composite reference standard for active and past COVID-19 infection (as described above, under Outcomes).

9.1.3 Missing data

Missing data for test results including reference tests will be reported.  Potential associations between patient characteristics (e.g. age, gender, etc.) and pattern of missing will be evaluated and reported using tables and graphs.  Robustness of the estimates for accuracy will be evaluated using sensitivity analyses.

9.2 Sample Size

9.2.1 Work Stream A

We will pragmatically enrol all patients who are eligible, within a safe capacity which will be defined by the local principal investigators. The total number of participants will depend on the number of tests to be evaluated.  The requirements for the evaluation of a single test are based on POC-test desired performance which are currently based on thresholds for minimum sensitivity and specificity of 80% and 98% respectively (value for the lower limit of the 95% confidence Interval). Assuming a test with 100% Sensitivity and a pre-test probability of .3, we would require approximately 100 participants (30 positives) to meet the minimum thresholds as stated above. Assuming a test with 97% sensitivity with a pre-test probability of .3, we would require approximately 120 patients (35 positives). If, after recruiting 30 positives for a particular IVD evaluation, the observed sensitivity is 100%, then we will terminate recruitment for that evaluation and analyse the data. If the observed sensitivity is below 100% but futility criteria (below) are not fulfilled, then we will continue to recruit approximately 120 patients (35 positives).

9.2.1.1 Futility

Tests with more than 19 false negatives OR five false positives could be immediately dropped from the study. This would allow us to exclude tests with sensitivities of: 50%, 60%, 70%, or 80% after the first 130, 160, 210, and 320 participants recruited. For tests with poor specificities of: 80%, 85%, 90% or 95% these would be identified after 35, 50, 70, and 145 participants recruited.

9.2.2 Work Stream B

The comparison of RT-PCR from throat swabs with detection of SARS-CoV-2 antigen has not been performed in humans, and empirical data for formal power calculations are therefore lacking. The FALCON study management group, study partners from Oxford University Hospitals NHS Foundation Trust Department of Microbiology and an independent statistician will therefore review data from the first 20 subjects with paired throat qRT-PCR and saliva viral antigen results in order to determine formal powering, which will then be included in the statistical analysis plan.

### 10. DATA MONITORING AND QUALITY ASSURANCE

The study will be subject to the audit and monitoring regime of Manchester University NHS Foundation Trust in line with applicable MFT SOPs and policies. The study will have, as a minimum, an annual survey sent out for completion by a member of the research team.

### 11. SAFETY CONSIDERATIONS AND ADVERSE EVENTS

In this observational study, risks to participants will be minimal. Whenever possible, we will use residual samples drawn for clinical purposes. At other times we aim to draw additional samples at the same time as routine venepuncture undertaken for clinical reasons. Finger stick samples must be drawn in addition to routine clinical samples. It is possible that this may cause some transient discomfort to patients and in rare cases there may be bruising. However the procedures will be undertaken by staff who are proficient at this procedure, which is a regular component of routine clinical assessments. All IVDs will be assessed prior to use to ensure infection prevention and control advice is considered and followed where applicable. We will minimise risks to healthcare workers by requiring that they practice in full accordance with contemporary national guidelines for infection control, including guidance on the appropriate use of personal protective equipment. By undertaking research sampling at the same time as clinical sampling whenever possible, we will minimise the additional exposure of healthcare workers to affected individuals.

### 12. PEER REVIEW

The study has been externally peer reviewed by the National Institute for Health Urgent Public Health Committee; and by the UKRI funding panel. It has internally peer reviewed by the NIHR Medtech and In vitro Diagnostic Cooperatives (MICs) specialising in the evaluation of in vitro diagnostics, including two statisticians (Prof Rafael Perera and Dr Sara Graziadio).

### 13. PPI REVIEW

### We are being supported by an experienced patient group associated with the Leeds NIHR Medtech and In vitro diagnostic Cooperative (MIC), led by Graham Prestwich. A group of 24 participants met to discuss this proposal. Their ongoing input will be sought as follows: two lay members will form part of the Trial Steering Committee; the patient group will be consulted with regard to interpretation of our findings, prioritisation of tests for evaluation, and dissemination of our findings.

### 14. ETHICAL and REGULATORY CONSIDERATIONS

14.1 Approvals

Prior to commencing the study, approval will be obtained from the National Research Ethics Service (NRES), the Health Research Authority (HRA) and participating NHS institutions. The research will be undertaken in accordance with the principles of Good Clinical Practice and the Declaration of Helsinki.

  - 14.2 Risks

Risks to participants and investigators are described above under safety, but the design of this study ensures that such risks are minimal. A risk matrix has been created to identify risks to study delivery and mitigating factors.

### 15. STATEMENT OF INDEMNITY

NHS indemnity will apply for participants.

### 16. FUNDING and RESOURCES

The study has been funded by the UKRI (approximately £1.3 million, May 2020) and will be supported by the NIHR Clinical Research Network via the Urgent Public Health portfolio for the COVID-19 response.

### 17. PUBLICATION POLICY

We will endeavour to publish the findings of this research openly, whether our findings are positive or negative. This is likely to be in medical journals, and our findings may also be published on relevant websites. We will endeavour to ensure that all findings are published with open access. We also plan to disseminate the findings to the Department of Health and Social Care. The data collected will be made available for individual patient data (IPD) meta-analysis.